## PowerDelivery
POWERDELIVERY
Diesel Savings Calculator ¦ Battery aapke genset ke saath, uski jagah nahi ¦ 8 yellow cells bhariye, baaki apne aap
1 ¦ AAPKA DATA (yellow cells only) |  |  |  | AAPKA JAWAB (automatic) | per kW | 6424.32
1. Diesel / gas ka kharcha, per month | 3000000 | ₹ / month |  | Saal ka bachat (net saving / year) | per kWh | 13651.68
2. Fuel price aaj | 95.2 | ₹ / litre |  | Paise wapas (payback) | site fixed | 1200000
3. Power cut, saal mein kitni baar | 700 | times / yr |  | Poore system price par, installed and commissioned. | site pct | 0.12
4. Ek power cut kitni der ka, average | 1.5 | hours |  | Fuel ka bill kitna kam | rte | 0.9
5. Bijli ka rate, landed | 10 | ₹ / unit |  | Battery ka size | soc | 0.9
6. Genset kitne load par chalta hai | 60% | % capacity |  | Aapke apne numbers se: units banaye / ghante chale. | dg om | 2
7. Bank loan ka rate (0 = apna paisa) | 11% | % / yr |  | System price, installed | batt om | 0.5
8. Loan kitne mahine ka | 60 | months |  | Battery, inverter, site ka kaam, commissioning. Machine aapki, day one se. | credit | 1
|  |  |  | Ek fuel unit ka daam aaj | standby kw floor | 3
|  |  |  | Wahi unit battery se | standby kw per MWh | 4
|  |  |  | Battery ki standby bijli, per year | sfc
|  |  |  | Cooling aur controls jab battery wait kar rahi hai. Bachat mein se pehle hi kat chuki hai. | litres
|  |  |  | Loan EMI, per year | dg kwh
run h
kW
2 ¦ DAS SAAL KA HISAAB (10-year cash table) |  |  |  |  | hrs
Saal | Bachat / yr | Loan EMI | Haath mein | Total ab tak | kWh
1 |  |  |  |  | cov
2 |  |  |  |  | disp
3 |  |  |  |  | dg cost
4 |  |  |  |  | gr cost
5 |  |  |  |  | spread
6 |  |  |  |  | equip
7 |  |  |  |  | capex
8 |  |  |  |  | standby kw
9 |  |  |  |  | standby cost/yr
10 |  |  |  |  | annual
Paisa wapas |  |  |  |  | fuel saved
cut
3 ¦ PAISA WAPAS AATA HUA |  |  |  |  | pay
emi/yr
loan yrs
4 ¦ SEEDHI BAAT
• Genset kahin nahi jaata. Lambe power cut genset hi lega. You are never asked to bet uptime on a battery.
• Yeh andaaza hai, quote nahi. Pakka number genset ke start counter se aata hai. Hum 10 minute mein free padh dete hain, data aapka rehta hai.
• Fuel ka rate flat rakha hai, jo aam taur par upar hi jaata hai. Depreciation bhi nahi gina, machine aapki hai to CA se poochhiye. Asli result inse behtar hi hoga.
• Power cut ki ginti kam nikli to hum khud bata denge ki deal mat kijiye.
GPD Power Delivery Private Limited ¦ C-33, Sector 11, Faridabad, Haryana 121006 ¦ contact@powerdelivery.in ¦ +91 8920-110-530 ¦ CIN U62090HR2024PTC120308 ¦ GSTIN 06AALCG1533A1Z5